## Slide 1: Renewable energy
Renewable energy is generally defined as energy that comes from resources which are naturally replenished on a human timescale such as sunlight, wind, rain, tides, waves and geothermal heat.
Wind, solar, and biomass are three emerging renewable sources of energy.

## Slide 2
Based on 2014 report, renewable contributed 19 percent to our energy consumption and 22 percent to our electricity generation in 2012 and 2013, respectively. Both, modern renewable, such as hydro, wind, solar and biofuels, as well as traditional biomass, contributed in about equal parts to the global energy supply. Worldwide investments in renewable technologies amounted to more than US$214 billion in 2013, with countries like China and the United States heavily investing in wind, hydro, solar and biofuels.

## Slide 3
Renewable energy resources exist over wide geographical areas, in contrast to other energy sources, which are concentrated in a limited number of countries. Rapid deployment of renewable energy and energy efficiency is resulting in significant energy security, climate change mitigation, and economic benefits.
In international public opinion surveys there is strong support for promoting renewable sources such as solar power and wind power. At the national level, at least 30 nations around the world already have renewable energy contributing more than 20 percent of energy supply. National renewable energy markets are projected to continue to grow strongly in the coming decade and beyond.
Renewable energy features
• Available in most countries of the world.
• Do not pollute the environment clean, and keeps the public health of living organisms.
• economical in many applications.
• ensure continued Twaverh autwagdaa.
• uncomplicated techniques used.

## Slide 4
Mainstream technologies
Wind power
The 845 MW Shepherds Flat Wind Farm near Arlington, Oregon, USA
Airflows can be used to run wind turbines. Modern utility-scale wind turbines range from around 600 kW to 5 MW of rated power, although turbines with rated output of 1.5–3 MW have become the most common for commercial use; the power available from the wind is a function of the cube of the wind speed, so as wind speed increases, power output increases up to the maximum output for the
particular turbine.

## Slide 5
1- Hydroelectric energy is a term usually reserved for large-scale hydroelectric dams. The largest of which is the Three Gorges Dam in China and a smaller example is the Akosombo Dam in Ghana.
2- Micro hydro systems are hydroelectric power installations that typically produce up to 100 kW of power..
3- Run-of-the-river hydroelectricity systems derive kinetic energy from rivers and oceans without the creation of a large reservoir
Hydropower
The Three Gorges Dam on the Yangtze River in China

## Slide 6
Solar energy
The 354 MW SEGS solar complex inSan Bernardino, California, USA
Solar energy, radiant light and heat from the sun, is harnessed using a range of ever-evolving technologies such as solar heating, photovoltaic, concentrated solar power, solar architecture and artificial photosynthesis.
A small, roof-top mounted PV system in Bonn, Germany
Photovoltaic power station in Kofu, Japan

## Slide 7
Global energy consumption by source. Renewable accounted for 17% in 2010.

## Slide 8
Global growth of renewable throughout 2011

## Slide 9
Renewable energy replaces conventional fuels in distinct areas: electricity generation and Heating
Power generation: Renewable energy provides 21.7% of electricity generation worldwide as of 2013. Renewable power generators are spread across many countries, and wind power alone already provides a significant share of electricity in some areas: for example, 14% in the U.S. state of Iowa, 40% in the northern German state of Schleswig-Holstein, and 49% in Denmark.

## Slide 10
Heating : Solar hot water makes an important contribution to renewable heat in many countries, most notably in China, which now has 70% of the global total (180 GWth). Most of these systems are installed on multi-family apartment buildings and meet a portion of the hot water needs of an estimated 50–60 million households in China.

## Slide 11
Growth projection of wind and solar capacity

## Slide 12
Japanese scientists recently succeeded in wireless energy transfer in an important step that could change the world's view of energy, which paves the way to be solar power from space in the near future and then transported to the planet for use in multiple areas, and the site said the US phys that this is the first time Send in which the amount of approximately two kilowatts of electrical power microwave.
Japan generate solar power from space and send it wirelessly to the ground in 2040

## Slide 13
Renewable energy in the Kurdistan region of Iraq
The Minister of Electricity in Iraq's Kurdistan region plans for long-term studies on renewable energies of all kinds, considering that the power of the water glory more than any other in the region.

## Slide 14
The region performs hydropower projects to take advantage of the water resources available «We have two projects hydroelectric are currently working, are« Dukan »and« Darbandikan », a design capacity of 649 MW, to Besides «Derlok» project which is being implemented design capacity of 37.6 MW, and cost about $ 160 million .
Renewable energy in the Kurdistan region of Iraq
The ministry of Electricity collect the data necessary for the launch of wind energy projects, solar energy, «We set up 15 towers since 2010, equipped with all data measurement and we will continue to cover all parts of Kurdistan.

## Slide 15
We can see from the above that renewable energy has important advantages can not be ignored and overlooked
1-They provide a renewable, sustainable and clean energy.
2-The techniques are known and are not complicated and can be developed and used to develop other technologies. And that their use will provide job opportunities and wide.
3-Physical and environmental accessories are available in the world dramatically
4-You may need to big capital at the beginning but do not need to provide the raw materials for in nature. They also do not need constant maintenance

## Slide 16: Thank you